## Create Activities
activity_database | activity_type | activity | reference_product | reference_product_amount | reference_product_unit | std_dev | activity_location | activity_version | code | notes
| technosphere | embankment earthfill | embankment earthfill | 1 | kg | 0.0040765 | US | 1 | 1 | Construction: Made up of biosphere inputs based on avg soil composition in US. Can make this regional as well.
| technosphere | embankment rockfill | embankment rockfill | 1 | kg | 0.0040765 | US | 1 | 2 | Construction: Same as earthfill soil makeup but only rocks. Also can make regional.
| technosphere | rip rap slope protection | rip rap slope protection | 1 | kg | 0.0028756 | US | 1 | 3 | Input is embankement rockfill. Same material and energy considered as secondary in final product.
| technosphere | concrete, dam face materials | concrete, dam face materials | 1 | m3 | 0.0030213 | US | 1 | 4
| technosphere | concrete, tunnel lining | concrete, tunnel lining | 1 | m3 | 0.0033378 | US | 1 | 5 | Construction: concrete mix ratios come from National Ready Mixed Concrete Association (NRMCA). According to shotcrete reference, minimum compressive strength of 5000psi (35MPa) and 100psi (0.7MPa) bond strength required for tunnel lining
| technosphere | concrete, powerhouse | concrete, powerhouse | 1 | m3 | 0.0027625 | US | 1 | 6
| technosphere | concrete, RCC dam type | concrete, RCC dam type | 1 | m3 | 0.0037809 | US | 1 | 7
| technosphere | concrete, anchors | concrete, anchors | 1 | m3 | 0.0022054 | US | 1 | 8
| technosphere | steel concrete reinforcement | steel concrete reinforcement | 1 | kg | 0.0033885 | US | 1 | 9
| technosphere | steel, penstock | steel, penstock | 1 | kg | 0.0040005 | US | 1 | 10
| technosphere | steel, surge chamber lining | steel, surge chamber lining | 1 | kg | 0.0032649 | US | 1 | 11
| technosphere | steel, transformer | steel, transformer | 1 | kg | 0.0023915 | US | 1 | 12 | combining steel and copper into one transformer input
| technosphere | steel, turbine | steel, turbine | 1 | kg | 0.0030015 | US | 1 | 13
| technosphere | steel, turbine shutoff valve | steel, turbine shutoff valve | 1 | kg | 0.002648 | US | 1 | 14
| technosphere | steel, generator | steel, generator | 1 | kg | 0.0029286 | US | 1 | 15
| biosphere | water, initial reservoir fill | water, initial reservoir fill | 1 | m3 | 0.0029919 | US | 1 | 16
| biosphere | water, annual makeup | water, annual makeup | 1 | m3 | 0.0055698 | US | 1 | 17
| biosphere | GHG, annual reservoir | GHG, annual reservoir | 1 | kg | 0.0032656 | US | 1 | 18
| technosphere | electricity, construction | electricity, construction | 1 | kWh | 0.0027294 | US | 1 | 19 | This is the same as electric, US grid mix annual, for first year
| technosphere | electricity, US grid mix, annual | electricity, US grid mix, annual | 1 | kWh | 0.0023329 | US | 1 | 20 | This variable will change based on ReEDS model outputs
| technosphere | diesel, construction | diesel, construction | 1 | L | 0.0027294 | US | 1 | 21 | diesel burned in building machinery from ecoinvent which is in MJ but 1L = 38.29MJ
| technosphere | lubricating oil | lubricating oil | 1 | kg | 0.0023329 | US | 1 | 22
| biosphere | Sulfur Hexafluoride (SF6) | Sulfur Hexafluoride (SF6) | 1 | kg | 0.0023329 | US | 1 | 23
| technosphere | transport, truck | transport, truck | 1 | tkm | 0.004542 | US | 1 | 24
| technosphere | transport, train | transport, train | 1 | tkm | 0.0063528 | US | 1 | 25
| technosphere | transport, freight | transport, freight | 1 | tkm | 0.0027915 | US | 1 | 26
| technosphere | explosives, reservoir | explosives, reservoir | 1 | kg | 0.0027294 | US | 1 | 27
| technosphere | copper, turbine and electrical | copper, turbine and electrical | 1 | kg | 0.002953 | US | 1 | 28 | right now copper cathode input but can look into adding copper wire as well
| technosphere | copper, transformer | copper, transformer | 1 | kg | 0.0023915 | US | 1 | 29 | combining steel and copper into one transformer input
| technosphere | reservoir liner | reservoir liner | 1 | m3 | 0.0027838 | US | 1 | 30
| technosphere | tranmission network | tranmission network | 1 | km |  | US | 1 | 31
| technosphere | concrete, mix 6000 psi | concrete, mix 6000 psi | 1 | m3 |  | US | 1 | 32
| biosphere | soil organic carbon | soil organic carbon | 1 | kg |  | US | 1 | 33
| biosphere | sand in soil | sand in soil | 1 | kg |  | US | 1 | 34
| technosphere | embankement earthfill operation | embankement earthfill operation | 1 | kg |  | US | 1 | 35 | already included in rockfill exchanges but not in earthfill
| technosphere | polymer, transformer | polymer, transformer | 1 | kg |  | US | 1 | 36 | just the transformer input minus the metals

## Copy Activities
source_database | activity | activity_code | destination_database
ecoinvent3.8 cut-off | clay pit operation | d946ad154413e6034e72575ef54d7d03 | nrel psh
ecoinvent3.8 cut-off | gravel and sand quarry operation | 14ad7fee91d429fc020451a3e5c65feb | nrel psh
ecoinvent3.8 cut-off | market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | nrel psh
ecoinvent3.8 cut-off | transformer production, high voltage use | 0b351f4dc4b4395c5d504e64b5c4a0a3 | nrel psh
ecoinvent3.8 cut-off | tap water production, underground water without treatment | 903957dbaf8147dda6c17296323caa3e | nrel psh

## Delete Exchanges
activity_database | activity | activity_code | exchange_database | exchange | exchange_code | notes
| clay pit operation | d946ad154413e6034e72575ef54d7d03 | ecoinvent3.8 cut-off | market for clay pit infrastructure | 2ce894d583119db4adca270af3fe9bb3 | contains infrastructure for clay pit which doesn't exist since digging onsite
| clay pit operation | d946ad154413e6034e72575ef54d7d03 | ecoinvent3.8 cut-off | market for diesel, burned in building machine | 4d897d9709b7282dfae394368a8a8bce | diesel included for construction already
| gravel and sand quarry operation | 14ad7fee91d429fc020451a3e5c65feb | ecoinvent3.8 cut-off | market for building, hall, steel construction | 2a5a86001d6b65bca8262b691d872533
| gravel and sand quarry operation | 14ad7fee91d429fc020451a3e5c65feb | ecoinvent3.8 cut-off | market for diesel, burned in building machine | 4d897d9709b7282dfae394368a8a8bce
| gravel and sand quarry operation | 14ad7fee91d429fc020451a3e5c65feb | ecoinvent3.8 cut-off | market for electricity, medium voltage | c20d4cd0946a343c3a844544ee122431
| gravel and sand quarry operation | 14ad7fee91d429fc020451a3e5c65feb | ecoinvent3.8 cut-off | market for electricity, medium voltage | 09acd340c26329625c85420419c71c47
| gravel and sand quarry operation | 14ad7fee91d429fc020451a3e5c65feb | ecoinvent3.8 cut-off | market for electricity, medium voltage | c5a5005e9a3f113c5cd9f936a3e1ad2f
| gravel and sand quarry operation | 14ad7fee91d429fc020451a3e5c65feb | ecoinvent3.8 cut-off | market group for electricity, medium voltage | 879c2c3fe49018b4e1d123dfbf994a57
| gravel and sand quarry operation | 14ad7fee91d429fc020451a3e5c65feb | ecoinvent3.8 cut-off | market group for electricity, medium voltage | 5d760744265684f0aadaf091e832fdf1
| gravel and sand quarry operation | 14ad7fee91d429fc020451a3e5c65feb | ecoinvent3.8 cut-off | market group for electricity, medium voltage | 978f1efe3db6163151b68a019d3f3231
| gravel and sand quarry operation | 14ad7fee91d429fc020451a3e5c65feb | ecoinvent3.8 cut-off | market group for electricity, medium voltage | 2429923082c474d476bda7e1ea4f6a63
| gravel and sand quarry operation | 14ad7fee91d429fc020451a3e5c65feb | ecoinvent3.8 cut-off | market group for electricity, medium voltage | fb215a840ab29c6a22ac08414212fa54
| market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | ecoinvent3.8 cut-off | market for tap water | 9d9025b262b9a0fb3aacfdf720130948 | swapping with US tap water input
| market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | ecoinvent3.8 cut-off | market for tap water | 56c875b407502ee835ab986da2fd5094 | swapping with US tap water input
| market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | ecoinvent3.8 cut-off | market for electricity, low voltage | 28dd399108491d09a1e89cee77829e9c | swapping with US low volt electric
| market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | ecoinvent3.8 cut-off | market for electricity, low voltage | 1c86507c340999f86b472c4403183b0b | swapping with US low volt electric
| market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | ecoinvent3.8 cut-off | market for electricity, low voltage | 8d0d4b250032d9aa8796e7c1604c61a9 | swapping with US low volt electric
| market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | ecoinvent3.8 cut-off | market for electricity, low voltage | 22467a4c4c2fc53a848f001fe9678c46 | swapping with US low volt electric
| market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | ecoinvent3.8 cut-off | market for electricity, low voltage | 28eb7e0998bb92c9e9efa44b98396ca0 | swapping with US low volt electric
| market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | ecoinvent3.8 cut-off | market for electricity, low voltage | 90be8a22a10b06cb0ddd432ee330aff6 | swapping with US low volt electric
| market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | ecoinvent3.8 cut-off | market for electricity, low voltage | b59ab3917ff71fc93233015d83b80b2e | swapping with US low volt electric
| market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | ecoinvent3.8 cut-off | market for electricity, low voltage | 1d07167f1280e61c61d259cf1b6dae94 | swapping with US low volt electric
| market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | ecoinvent3.8 cut-off | market for electricity, low voltage | 915643a627669570a2b3f569626dc325 | swapping with US low volt electric
| market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | ecoinvent3.8 cut-off | market for electricity, low voltage | 1ae35dd4dc54f383773586968e477fbb | swapping with US low volt electric
| market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | ecoinvent3.8 cut-off | market for electricity, low voltage | 37f3c3ee506ac78b7a9dd30caf793faf | swapping with US low volt electric
| market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | ecoinvent3.8 cut-off | market for electricity, low voltage | 9e113f26653792250207202cce6fc914 | swapping with US low volt electric
| market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | ecoinvent3.8 cut-off | market for electricity, low voltage | 85caf0e0b77733c0f0d9293df67fcb2d | swapping with US low volt electric
| market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | ecoinvent3.8 cut-off | market for electricity, low voltage | 90739c103288d2d917fa796be516978b | swapping with US low volt electric
| market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | ecoinvent3.8 cut-off | market for electricity, low voltage | 21e82ce982920119b59baf7950b2789a | swapping with US low volt electric
| market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | ecoinvent3.8 cut-off | market for electricity, low voltage | e162e8e37fd3e6dd70c4c2bad045e811 | swapping with US low volt electric
| market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | ecoinvent3.8 cut-off | market for electricity, low voltage | 4b4e390981d2ef0cc1f516adf533d6fc | swapping with US low volt electric
| market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | ecoinvent3.8 cut-off | market for electricity, low voltage | 0f7ce9dca5005987126cc033b9d73a6d | swapping with US low volt electric
| market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | ecoinvent3.8 cut-off | market for electricity, low voltage | 3d3d6df5a48d998ada4263a2c1708f34 | swapping with US low volt electric
| market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | ecoinvent3.8 cut-off | market for electricity, low voltage | c2465779765ff4ea2db55a061341b50c | swapping with US low volt electric
| market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | ecoinvent3.8 cut-off | market for electricity, low voltage | 3532ee426b10e8622c0d9615635648da | swapping with US low volt electric
| market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | ecoinvent3.8 cut-off | market for electricity, low voltage | d8a946e69bd1f7e100d0110c01e15fad | swapping with US low volt electric
| market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | ecoinvent3.8 cut-off | market for electricity, low voltage | 133cb6712bcfa9b6119337d159a255f2 | swapping with US low volt electric
| market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | ecoinvent3.8 cut-off | market for electricity, low voltage | ff5b1253e575684c9a4da5cfcb79cc0c | swapping with US low volt electric
| market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | ecoinvent3.8 cut-off | market for electricity, low voltage | 22b45b7587702a8d1caf8fe157b32bd2 | swapping with US low volt electric
| market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | ecoinvent3.8 cut-off | market for electricity, low voltage | ebae288e6366d48e6375d88830fc0389 | swapping with US low volt electric
| market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | ecoinvent3.8 cut-off | market for electricity, low voltage | 541fbc4a48e54621733202a6c2f90df7 | swapping with US low volt electric
| market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | ecoinvent3.8 cut-off | market for electricity, low voltage | c4f837805daf29b45d3671c2370d1fe6 | swapping with US low volt electric
| market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | ecoinvent3.8 cut-off | market for electricity, low voltage | 624203a0ff600bde920cd1f5f595e3c3 | swapping with US low volt electric
| market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | ecoinvent3.8 cut-off | market for electricity, low voltage | 6f64339de74d34f6b61b18492e1563ea | swapping with US low volt electric
| market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | ecoinvent3.8 cut-off | market for electricity, low voltage | 068035c0eda021f6a311d81ea639d2dd | swapping with US low volt electric
| market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | ecoinvent3.8 cut-off | market for electricity, low voltage | c3ca9da0e40055ce066920c557931309 | swapping with US low volt electric
| market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | ecoinvent3.8 cut-off | market for electricity, low voltage | a534ea43b70cd511fa792020b44dc2bf | swapping with US low volt electric
| market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | ecoinvent3.8 cut-off | market for electricity, low voltage | 26dafc151f921dcdce0f067a72567b72 | swapping with US low volt electric
| market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | ecoinvent3.8 cut-off | market for electricity, low voltage | 3dc3d54d46ffe744b54a9e504c98362f | swapping with US low volt electric
| market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | ecoinvent3.8 cut-off | market for electricity, low voltage | 2d2ebad657319bd172e23e5a3073a3c3 | swapping with US low volt electric
| market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | ecoinvent3.8 cut-off | market for electricity, low voltage | cc635111b8f40df1670a95780dcb0292 | swapping with US low volt electric
| market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | ecoinvent3.8 cut-off | market for electricity, low voltage | bb5e7a741cb61b9d6de1cd7e608d4d9d | swapping with US low volt electric
| market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | ecoinvent3.8 cut-off | market for electricity, low voltage | f775f510c70531863d870c324cf0a22b | swapping with US low volt electric
| market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | ecoinvent3.8 cut-off | market for electricity, low voltage | 4662b27b833fe9a8354d92727e9f7fe3 | swapping with US low volt electric
| market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | ecoinvent3.8 cut-off | market for electricity, low voltage | 22a01551fffd7619f255f1ef76894bfe | swapping with US low volt electric
| market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | ecoinvent3.8 cut-off | market for electricity, low voltage | 8acb4a98e5f3ee77eb95f07a4fd82aa1 | swapping with US low volt electric
| market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | ecoinvent3.8 cut-off | market for electricity, low voltage | 897ba304692de58fbd8b1870651b24af | swapping with US low volt electric
| market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | ecoinvent3.8 cut-off | market for electricity, low voltage | 040688cf5dcc04c60db398ce2859617a | swapping with US low volt electric
| market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | ecoinvent3.8 cut-off | market for electricity, low voltage | 71554c77e1d8919ea56c1d8332b55a2b | swapping with US low volt electric
| market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | ecoinvent3.8 cut-off | market for electricity, low voltage | 40954a270ea7ec19ace78cee1ed32ea8 | swapping with US low volt electric
| market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | ecoinvent3.8 cut-off | market for electricity, low voltage | ba5244bad128f30630e464e0ee33df17 | swapping with US low volt electric
| market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | ecoinvent3.8 cut-off | market for electricity, low voltage | 67aba8cbc0d8e91329efde23b962832e | swapping with US low volt electric
| market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | ecoinvent3.8 cut-off | market for electricity, low voltage | ba0c2611a2d52da2a80c73e81a4e162d | swapping with US low volt electric
| market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | ecoinvent3.8 cut-off | market for electricity, low voltage | 00547de4602aa4a53ad4b39d183784e6 | swapping with US low volt electric
| market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | ecoinvent3.8 cut-off | market for electricity, low voltage | 021d701260abf27f9fd7678a13a92faf | swapping with US low volt electric
| market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | ecoinvent3.8 cut-off | market for electricity, low voltage | 8fddf9db95628d6f8061e0f38d111dc2 | swapping with US low volt electric
| market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | ecoinvent3.8 cut-off | market for electricity, low voltage | 4b9482d9f5671bfc013a879590c32cec | swapping with US low volt electric
| market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | ecoinvent3.8 cut-off | market group for electricity, low voltage | 3cfc59fc623417fcd962aa4065069663 | swapping with US low volt electric
| market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | ecoinvent3.8 cut-off | market group for electricity, low voltage | 3faff1361bafa26ee8b8839dc5f829f6 | swapping with US low volt electric
| transformer production, high voltage use | 0b351f4dc4b4395c5d504e64b5c4a0a3 | ecoinvent3.8 cut-off | wire drawing, copper | f8586b86fe8ac595be9f6b18e9b94488
| transformer production, high voltage use | 0b351f4dc4b4395c5d504e64b5c4a0a3 | ecoinvent3.8 cut-off | copper, cathode | 4f669c71cf22f6b782575a3ed1d34807
| transformer production, high voltage use | 0b351f4dc4b4395c5d504e64b5c4a0a3 | ecoinvent3.8 cut-off | steel, low-alloyed, hot rolled | 9b20aabdab5590c519bb3d717c77acf2
| tap water production, underground water without treatment | 903957dbaf8147dda6c17296323caa3e | ecoinvent3.8 cut-off | market for electricity, medium voltage | a3f826ed5f0817aeb0e82dea83709f7c | delete CA-QC med electric and replace with US

## Add Exchanges
activity_database | activity | activity_code | activity_location | exchange_database | exchange | exchange_code | amount | unit | exchange_location | exchange_type
nrel psh | embankment earthfill | 1 | US | nrel psh | clay pit operation | d946ad154413e6034e72575ef54d7d03 | 1 | kg | RoW | technosphere
nrel psh | soil organic carbon | 33 | US | biosphere3 | TOC, Total Organic Carbon | 73b225ab-ddc4-4a38-9ed0-ceedee987424 | -1 | kg | US | biosphere
nrel psh | soil organic carbon | 33 | US | biosphere3 | Transformation, to unspecified | 512a5356-8059-4772-a43f-42e3c4f3d299 | 1.67e-05 | m2 | US | biosphere
nrel psh | soil organic carbon | 33 | US | biosphere3 | Transformation, from unspecified | 512a5356-8059-4772-a43f-42e3c4f3d299 | 1.67e-05 | m2 | US | biosphere
nrel psh | soil organic carbon | 33 | US | biosphere3 | Occupation, mineral extraction site | 379ba5c9-5c3a-43d0-8e2d-605ad9c39e46 | 0.000167 | m2-yr | US | biosphere
nrel psh | embankment earthfill | 1 | US | nrel psh | soil organic carbon | 33 | 1 | kg | US | technosphere
nrel psh | sand in soil | 34 | US | biosphere3 | Sand, unspecified, in ground | 423ef039-6057-4f63-94bd-e9410d024bd0 | 1 | kg | US | biosphere
nrel psh | sand in soil | 34 | US | biosphere3 | Transformation, to unspecified | 512a5356-8059-4772-a43f-42e3c4f3d299 | 1.67e-05 | m2 | US | biosphere
nrel psh | sand in soil | 34 | US | biosphere3 | Transformation, from unspecified | 512a5356-8059-4772-a43f-42e3c4f3d299 | 1.67e-05 | m2 | US | biosphere
nrel psh | sand in soil | 34 | US | biosphere3 | Occupation, mineral extraction site | 379ba5c9-5c3a-43d0-8e2d-605ad9c39e46 | 0.000167 | m2-yr | US | biosphere
nrel psh | embankment earthfill | 1 | US | nrel psh | sand in soil | 34 | 1 | kg | US | technosphere
nrel psh | gravel and sand quarry operation | 14ad7fee91d429fc020451a3e5c65feb | US | nrel psh | electricity, construction | 19 | 0.0027199 | kWh | US | technosphere
nrel psh | embankment rockfill | 2 | US | nrel psh | gravel and sand quarry operation | 14ad7fee91d429fc020451a3e5c65feb | 1 | kg | US | technosphere
nrel psh | embankement earthfill operation | 35 | US | ecoinvent3.8 cut-off | synthetic rubber | 8d8d67e52191663e6949beb083b9d241 | 1.9999e-06 | kilogram | GLO | technosphere
nrel psh | embankement earthfill operation | 35 | US | ecoinvent3.8 cut-off | lubricating oil | 15c993b65a45868e9f93a05998f2aca0 | 1.85e-06 | kilogram | RoW | technosphere
nrel psh | embankement earthfill operation | 35 | US | ecoinvent3.8 cut-off | building, hall, steel construction | 2a5a86001d6b65bca8262b691d872533 | 5.0299e-07 | square meter | GLO | technosphere
nrel psh | embankement earthfill operation | 35 | US | ecoinvent3.8 cut-off | conveyor belt | 62e41ec78b96b9df85abc4e3e3017a7d | 9.5099e-08 | meter | GLO | technosphere
nrel psh | embankement earthfill operation | 35 | US | ecoinvent3.8 cut-off | gravel/sand quarry infrastructure | 8b5a6bc677b6d7a4b3fb195a8b17163d | 4.7499e-11 | unit | GLO | technosphere
nrel psh | embankement earthfill operation | 35 | US | ecoinvent3.8 cut-off | industrial machine, heavy, unspecified | bb04fc71d855eddfcb74e6e892da7ca7 | 1.12e-05 | kilogram | RoW | technosphere
nrel psh | embankement earthfill operation | 35 | US | ecoinvent3.8 cut-off | steel, low-alloyed, hot rolled | 9b20aabdab5590c519bb3d717c77acf2 | 1.3e-05 | kilogram | GLO | technosphere
nrel psh | embankement earthfill operation | 35 | US | ecoinvent3.8 cut-off | tap water | 2013d138a24d74184bae2541f62cd546 | 9.4371e-05 | kilogram | BR | technosphere
nrel psh | embankement earthfill operation | 35 | US | ecoinvent3.8 cut-off | tap water | 9d9025b262b9a0fb3aacfdf720130948 | 1.136e-05 | kilogram | CA-QC | technosphere
nrel psh | embankement earthfill operation | 35 | US | ecoinvent3.8 cut-off | tap water | 16575a65193ed859a5588bb93a34a69c | 1.8774e-05 | kilogram | CO | technosphere
nrel psh | embankement earthfill operation | 35 | US | ecoinvent3.8 cut-off | tap water | 20030d8301f2a68c19ae553a54298a71 | 0.0040368 | kilogram | Europe without Switzerland | technosphere
nrel psh | embankement earthfill operation | 35 | US | ecoinvent3.8 cut-off | tap water | ee81d50122ef570465fd8052e0c8ebe6 | 0.0004734 | kilogram | IN | technosphere
nrel psh | embankement earthfill operation | 35 | US | ecoinvent3.8 cut-off | tap water | ff5886c1b309c045b0fab75a432a75b3 | 1.2315e-05 | kilogram | PE | technosphere
nrel psh | embankement earthfill operation | 35 | US | ecoinvent3.8 cut-off | tap water | 90f90ab87841a25431cf6f6c36adaa24 | 3.5031e-05 | kilogram | ZA | technosphere
nrel psh | embankement earthfill operation | 35 | US | ecoinvent3.8 cut-off | tap water | 56c875b407502ee835ab986da2fd5094 | 0.0054174 | kilogram | RW | technosphere
nrel psh | embankement earthfill operation | 35 | US | ecoinvent3.8 cut-off | municipal solid waste | 8c2b3cc2db354ddf92037ef894195f08 | -3.6138e-09 | kilogram | CA-QC | technosphere
nrel psh | embankement earthfill operation | 35 | US | ecoinvent3.8 cut-off | municipal solid waste | 5c7c48942a854335523cdbb08fa0e1b2 | -9.1058e-10 | kilogram | CY | technosphere
nrel psh | embankement earthfill operation | 35 | US | ecoinvent3.8 cut-off | municipal solid waste | 59f47e6beee9b9406d0e5d3a778ea360 | -1.3013e-09 | kilogram | IN | technosphere
nrel psh | embankement earthfill operation | 35 | US | ecoinvent3.8 cut-off | municipal solid waste | a2fbc603e33447753bf64c372b572a3f | -2.0828e-07 | kilogram | Europe without Switzerland | technosphere
nrel psh | embankement earthfill operation | 35 | US | ecoinvent3.8 cut-off | municipal solid waste | 3735848df52fa430113ad35a6b4c6f40 | -2.5558e-06 | kilogram | RoW | technosphere
nrel psh | embankement earthfill operation | 35 | US | ecoinvent3.8 cut-off | waste mineral oil | ef3c1e70d617452d89dfbecc859eb56b | -5.1128e-07 | kilogram | Europe without Switzerland | technosphere
nrel psh | embankement earthfill operation | 35 | US | ecoinvent3.8 cut-off | waste mineral oil | ef3c1e70d617452d89dfbecc859eb56b | -5.1128e-07 | kilogram | Europe without Switzerland | technosphere
nrel psh | embankement earthfill operation | 35 | US | ecoinvent3.8 cut-off | waste mineral oil | 2596232e969a929c42ac37ffdb779837 | -1.3387e-06 | kilogram | RoW | technosphere
nrel psh | embankement earthfill operation | 35 | US | ecoinvent3.8 cut-off | waste mineral oil | 2596232e969a929c42ac37ffdb779837 | -1.3387e-06 | kilogram | RoW | technosphere
nrel psh | embankement earthfill operation | 35 | US | ecoinvent3.8 cut-off | heat, central or small-scale, other than natural gas | cc8f3c51a2cb900b9981655620f07882 | 3.3057e-05 | megajoule | Europe without Switzerland | technosphere
nrel psh | embankement earthfill operation | 35 | US | ecoinvent3.8 cut-off | heat, central or small-scale, other than natural gas | 7001a785417e5a652134e930d1b9495b | 0.0024069 | megajoule | RoW | technosphere
nrel psh | embankement earthfill operation | 35 | US | biosphere3 | Water, unspecified natural origin | 831f249e-53f2-49cf-a93c-7cee105f048e | 0.00138 | cubic meter | US | biosphere
nrel psh | embankment earthfill | 1 | US | nrel psh | embankement earthfill operation | 35 | 1 | kg | US | technosphere
nrel psh | rip rap slope protection | 3 | US | nrel psh | embankment rockfill | 2 | 1 | kg | US | technosphere
nrel psh | concrete, mix 6000 psi | 32 | US | ecoinvent3.8 cut-off | market for cement, Portland | 6b588c313daaa58b280e70d223205015 | 0.1511 | kilogram | US | technosphere
nrel psh | concrete, mix 6000 psi | 32 | US | ecoinvent3.8 cut-off | market for cement, pozzolana and fly ash 15-40% | 5f3c3f187efe12a76f14014ffd4631de | 0.026505 | kilogram | US | technosphere
nrel psh | concrete, mix 6000 psi | 32 | US | ecoinvent3.8 cut-off | market for ground granulated blast furnace slag | f4c4c13364a7ad002e1ea55571a5737a | 0.0074313 | kilogram | US | technosphere
nrel psh | concrete, mix 6000 psi | 32 | US | ecoinvent3.8 cut-off | market for tap water | 56c875b407502ee835ab986da2fd5094 | 0.084469 | kilogram | RoW | technosphere
nrel psh | concrete, mix 6000 psi | 32 | US | ecoinvent3.8 cut-off | market for gravel, crushed | 519beadbc9437238c0f941ffaabfe101 | 0.60144 | kilogram | RoW | technosphere
nrel psh | concrete, mix 6000 psi | 32 | US | ecoinvent3.8 cut-off | gravel and sand quarry operation | 14ad7fee91d429fc020451a3e5c65feb | 0.12906 | kilogram | RoW | technosphere
nrel psh | concrete, mix 6000 psi | 32 | US | ecoinvent3.8 cut-off | market group for electricity, medium voltage | db4af9db16ee49d8765b1c6604e60bba | 4.21 | kilowatt hour | US | technosphere
nrel psh | concrete, mix 6000 psi | 32 | US | ecoinvent3.8 cut-off | natural gas production | 5c81c1950892162f294be9db9b72ff1f | 0.44344 | cubic meter | US | technosphere
nrel psh | concrete, mix 6000 psi | 32 | US | ecoinvent3.8 cut-off | market for heavy fuel oil | 3660bffb340f9843d4a2ed41b5d34ef8 | 0.034069 | kilogram | RoW | technosphere
nrel psh | market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | US | ecoinvent3.8 cut-off | market group for electricity, low voltage | 12e8a9953a2b09fa316106edc3b0e0da | 0.0067 | kilowatt hour | US | technosphere
nrel psh | market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | US | ecoinvent3.8 cut-off | market for tap water | 56c875b407502ee835ab986da2fd5094 | 0.000689 | kilogram | RoW | technosphere
nrel psh | concrete, mix 6000 psi | 32 | US | nrel psh | market for diesel, low-sulfur | 1772b4b7346b1b9acb7d0b572a9e75bf | 1.3514 | kilogram | RoW | technosphere
nrel psh | concrete, mix 6000 psi | 32 | US | ecoinvent3.8 cut-off | natural gas liquids fractionation | b17f2227698084661562b16c24405230 | 0.018662 | kilogram | GLO | technosphere
nrel psh | concrete, mix 6000 psi | 32 | US | ecoinvent3.8 cut-off | market for tap water | 56c875b407502ee835ab986da2fd5094 | 113.6746 | kilogram | RoW | technosphere
nrel psh | concrete, mix 6000 psi | 32 | US | ecoinvent3.8 cut-off | market for hazardous waste, for incineration | 0848065a09110dda8412e2b48219825f | -0.013608 | kilogram | CH | technosphere
nrel psh | concrete, mix 6000 psi | 32 | US | ecoinvent3.8 cut-off | market for waste cement, hydrated | 62c133e1b14a05fa061824feb3e7d242 | -4.1232 | kilogram | RoW | technosphere
nrel psh | concrete, dam face materials | 4 | US | nrel psh | concrete, mix 6000 psi | 32 | 1 | m3 | US | technosphere
nrel psh | concrete, tunnel lining | 5 | US | nrel psh | concrete, mix 6000 psi | 32 | 1 | m3 | US | technosphere
nrel psh | concrete, powerhouse | 6 | US | nrel psh | concrete, mix 6000 psi | 32 | 1 | m3 | US | technosphere
nrel psh | concrete, RCC dam type | 7 | US | nrel psh | concrete, mix 6000 psi | 32 | 1 | m3 | US | technosphere
nrel psh | concrete, anchors | 8 | US | nrel psh | concrete, mix 6000 psi | 32 | 1 | m3 | US | technosphere
nrel psh | steel concrete reinforcement | 9 | US | ecoinvent3.8 cut-off | reinforcing steel production | e1689a1d91788dd4eb3371cd89806a92 | 1 | kilogram | RoW | technosphere | check flows
nrel psh | steel, penstock | 10 | US | ecoinvent3.8 cut-off | steel production, low-alloyed, hot rolled | d868103f1cf89a099ca8fc05f7bd252f | 1 | kilogram | RoW | technosphere | A537 and A517 grade F used
nrel psh | steel, surge chamber lining | 11 | US | ecoinvent3.8 cut-off | steel production, low-alloyed, hot rolled | d868103f1cf89a099ca8fc05f7bd252f | 1 | kilogram | RoW | technosphere
nrel psh | copper, transformer | 29 | US | ecoinvent3.8 cut-off | wire drawing, copper | f8586b86fe8ac595be9f6b18e9b94488 | 0.51162 | kilogram | GLO | technosphere
nrel psh | copper, transformer | 29 | US | ecoinvent3.8 cut-off | copper, cathode | 4f669c71cf22f6b782575a3ed1d34807 | 0.48838 | kilogram | GLO | technosphere
nrel psh | steel, transformer | 12 | US | ecoinvent3.8 cut-off | steel, low-alloyed, hot rolled | 9b20aabdab5590c519bb3d717c77acf2 | 1 | kilogram | GLO | technosphere
nrel psh | polymer, transformer | 36 | US | nrel psh | transformer production, high voltage use | 0b351f4dc4b4395c5d504e64b5c4a0a3 | 1 | kilogram | GLO | technosphere | took out metal exchanges
nrel psh | steel, turbine | 13 | US | ecoinvent3.8 cut-off | market for steel, chromium steel 18/8, hot rolled | 683c18c43d5d1a5b067eb690cc9eb9f2 | 1 | kilogram | GLO | technosphere
nrel psh | steel, turbine shutoff valve | 14 | US | ecoinvent3.8 cut-off | market for steel, chromium steel 18/8, hot rolled | 683c18c43d5d1a5b067eb690cc9eb9f2 | 1 | kilogram | GLO | technosphere
nrel psh | steel, generator | 15 | US | ecoinvent3.8 cut-off | market for steel, chromium steel 18/8, hot rolled | 683c18c43d5d1a5b067eb690cc9eb9f2 | 1 | kilogram | GLO | technosphere
nrel psh | tap water production, underground water without treatment | 903957dbaf8147dda6c17296323caa3e | US | ecoinvent3.8 cut-off | market group for electricity, medium voltage | db4af9db16ee49d8765b1c6604e60bba | 0.000399 | kilowatt hour | US | technosphere
nrel psh | water, initial reservoir fill | 16 | US | nrel psh | tap water production, underground water without treatment | 903957dbaf8147dda6c17296323caa3e | 1 | kilogram | CA-QC | technosphere | changed so applies to US not CA. includes ground water biosphere input electric and pump.
nrel psh | water, annual makeup | 17 | US | nrel psh | tap water production, underground water without treatment | 903957dbaf8147dda6c17296323caa3e | 1 | kilogram | CA-QC | technosphere
nrel psh | electricity, construction | 19 | US | ecoinvent3.8 cut-off | market group for electricity, medium voltage | db4af9db16ee49d8765b1c6604e60bba | 1 | kilowatt hour | US | technosphere
nrel psh | electricity, US grid mix, annual | 20 | US | ecoinvent3.8 cut-off | market group for electricity, high voltage | 1f5d38d38cd5e0b1d847205eafa6b9fa | 1 | kilowatt hour | US | technosphere
nrel psh | diesel, construction | 21 | US | ecoinvent3.8 cut-off | diesel, burned in building machine | 08cc71a204565e1325805cdcba2ddc5a | 38.29 | megajoule | GLO | technosphere | converted liter to megajoule, mostly just contains biosphere outputs which is fine
nrel psh | lubricating oil | 22 | US | ecoinvent3.8 cut-off | market for lubricating oil | 08cc71a204565e1325805cdcba2ddc5a | 1 | kilogram | RoW | technosphere
nrel psh | transport, truck | 24 | US | ecoinvent3.8 cut-off | market for transport, freight, lorry, unspecified | 9620867f9e5b65a1dc2a63e5eb67c40e | 1 | ton kilometer | RoW | technosphere
nrel psh | transport, train | 25 | US | ecoinvent3.8 cut-off | transport, freight train, diesel | 4f870259974a6d00faf14ce1a4c35f55 | 1 | ton kilometer | US | technosphere | freight trains run exclusively on diesel
nrel psh | transport, freight | 26 | US | ecoinvent3.8 cut-off | market for transport, freight, sea, container ship | 54aa5f3c45924f8d2d3ecfbd16a2f3d1 | 1 | ton kilometer | GLO | technosphere
nrel psh | explosives, reservoir | 27 | US | ecoinvent3.8 cut-off | market for explosive, tovex | 0247499081f02769a89262ef09b1f3e4 | 1 | kilogram | GLO | technosphere
nrel psh | copper, turbine and electrical | 28 | US | ecoinvent3.8 cut-off | market for copper, cathode | 4f669c71cf22f6b782575a3ed1d34807 | 1 | kilogram | GLO | technosphere
nrel psh | reservoir liner | 30 | US | ecoinvent3.8 cut-off | clay pit operation | d946ad154413e6034e72575ef54d7d03 | 13.8746 | kilogram | RoW | technosphere | check this and make sure not double counting
nrel psh | reservoir liner | 30 | US | biosphere3 | Transformation, from unknown | 12264257-7f8b-4afe-b3cb-3ac28ca1661a | 13.8746 | square meter | US | biosphere
nrel psh | reservoir liner | 30 | US | biosphere3 | Transformation, to lake, artificial | 84b65d8f-2edd-4ddd-8f68-ca28d1c681b0 | 13.8746 | square meter | US | biosphere
nrel psh | reservoir liner | 30 | US | biosphere3 | Occupation, lake, artificial | 69dfa439-8e4e-4cae-bb0c-85a8aa8b9a73 | 13.8746 | square meter-year | US | biosphere
nrel psh | reservoir liner | 30 | US | biosphere3 | carbon dioxide, from soil or biomass stock | 6d89125e-e9b7-4d7e-a1fc-ada45dbd8815 | -0.82189 | kilogram | US | biosphere
nrel psh | reservoir liner | 30 | US | biosphere3 | Clay, unspecified, in ground | f7519ca9-5ffc-41c3-a33e-806da82cfc0e | 13.8746 | kilogram | US | biosphere
nrel psh | tranmission network | 31 | US | ecoinvent3.8 cut-off | transmission network construction, electricity, high voltage | eefec1c6124b3abee012e1d2655af94f | 1 | kilometer | CA-QC | technosphere